Příloha č. 4 Smlouvy o poskytování konzultačních služeb

Annex 1.a 

Q&As regarding ESR/AEC Calculations related with the Ceska Sporitelna Programme 

on „Financing of eligible energy efficiency investments of SMEs and/or housing associations and/or housing cooperatives in Czech Republic fulfilling the conditions of the Commission Recommendation 2003/361/EC of 6 May 2003 on SMEs“.

Questions and answers relate to setting AEC (Annual energy consumption prior to Investment) and calculating ESR: (as specified in the Annex 8, MFF / SMEFF:   Energy Efficiency Guidelines), contribution of LEME:

	Small scale investments of less than EUR 
250 000
	As it is stated in the Annex 8, in case of small scale investments of less than EUR 250 000 the deemed energy savings for each LEME item will be determined by the TA consultant on the basis of the performance of the item compared to business as usual baseline.

Questions: 

1) Baseline: In case of thermal insulation of a building we suppose that the baseline of the LEME item (i.e. measure) is set as consumption of energy for heating only. Is it right? Answer: Yes, this is coherent with answer to FAQ no.2.
2) Not each LEME item will bring 30% reduction in the relevant consumption after the investment. Does it mean that we can sum up those LEME items which contribute to the reduction of 30% in total in the relevant energy consumption (i.e. in heat consumption for heating?) Answer: Yes, this is also in line with answer to FAQ no. 2.

	Building sector projects above 250 000 EUR of investment
	An EPCB  after completion of the sub-project has to be calculated, comprising:

· The EPC after investment

· Assessment on how the recommendations included in the energy audit, performed before the EE Sub-Project was started, have been fulfilled. If this is not the case, justification of the differences and evaluation of consequences.

· The relevant energy (savings/emissions) indicator.

Questions: 

1) Will the energy savings indicator (as stated above) be calculated as a ration of EPC before the investment and EPC after investment? (Answer: It is the Difference between both figures expressed in %.) EPC in the Czech EPCB is not calculated from real annual energy consumption but as a reference building energy consumption. (Answer: See answer to FAQ no. 5)
2) Can EPC be calculated according to the Czech national legislation for EPCB, which includes only consumption for heating, cooling and hot water preparation in the whole building /residential house, but lighting and machinery only in common parts? 
Answer: 

For buildings, subject to an EPCB the relevant energy indicator will be expressed in kWh/m² of the habitable area and year. The habitable area of the building will be calculated according to the national legislation or in its absence, is defined as …(see section 5.1 Energy Efficiency Guideline)

	ESR Calculation
	Question:

Can we calculate the ESR for every sub-project (under or over 250 000 EUR) only for part of the total energy consumption of the building? E.g. the project includes the measures such as wall insulation, windows replacement, so we calculate the ESR only from the energy consumption of heating and NOT from the total energy consumption of the building?

Answer: Yes.

Your question complies with question no. 1 from September 17 which was dealing with the LEME-Baseline: "In case of thermal insulation of a building we suppose that the baseline of the LEME item is set as consumption of energy for heating only. Is it right?" The answer to this question was positive and referred to FAQ No. 2.  

FAQ No. 2: "On what basis do we calculate the ESR or other relevant indicator? Should it for example only be for the complete enterprise/building?"

The answer is: "The basis for calculating the ESR or the relevant indicator may be restricted to that part of the enterprise or building unit affected by the sub-project investment".

The measures mentioned (wall insulation, windows replacement) affect the building´s energy consumption of heating and thus the basis for ESR calculation may be restricted to this.




