# ANNEX NO. 2 TO TENDER DOCUMENTATION

# TECHNICAL SPECIFICATIONS OF SUBJECT OF PUBLIC CONTRACT

# Identification of public contract and Participant

| Name of public contract: | S&M Develop – Žipotín Wind Power Plant – Deliveries |
| --- | --- |
| Type of Tender Proceedings: | public contract outside the regime of Act No. 134/2016 Coll., on public procurement (hereinafter the “AoPP”) |
| Type of public contract: | deliveries |

| Name of Participant: | Click here and input text. |
| --- | --- |
| Registered office of Participant: | Click here and input text. |
| Contact place: | Click here and input text. |
| Business ID number: | Click here and input text. |

This document is signed solely by a person authorised to represent the Participant in the Tender Proceedings.

# Technical Specifications of Subject of Public Contract

This document stipulates the minimum required technical parameters for the part of the public contract – technology for wind power plant (WPP) hereinafter the “Subject of the Public Contract” or the “Equipment”). In the event of a lack of clarity regarding compliance with a certain parameter, the contracting authority can request from the Participant, as a part of the clarification of a bid within the meaning of Section 46(1) of the AoPP, the submission of product sheets prepared by the manufacturer of the Equipment offered (datasheets) or samples of models of the Equipment.

The capacity, qualitative and technical parameters and requirements for the Subject of the Public Contract defined by the contracting authority, as well as the values stated for such parameters, are set as the minimum permissible ones. The Participants can therefore offer Equipment that has better parameters and properties for the functionalities required by the contracting authority.

If the Tender Documentation contains requirements or references to business companies or names, specific designations of equipment and services that apply to a certain entity/person or its organisational component as characteristic, patents for inventions, utility models, industrial designs, trademarks or designations of origin, for the performance of the public contract the Participant is entitled to propose other, technically and qualitatively equal solutions that have to meet the technical and functional requirements of the contracting authority stated in this Tender Documentation and its annexes.

# Equipment Offered by Participant

For each stated item (line) in the table the Participant will state the specific technical parameters of the Equipment offered or YES/NO for requirements that cannot be expressed in numbers, i.e. whether Equipment meets or does not meet such requirement. The Participant will also state the manufacturer and type designation of the Equipment offered.

So that a bid can be assessed and further evaluated, the Participant has to comply with all technical parameters of the Equipment requested by the contracting authority.

Requirements for wind power plant technology:

| Minimum technical parameters required by contracting authority: |  | Technical parameters offered by Participant or YES/NO – as specified below: |
| --- | --- | --- |
| Installed power output of WPP | 4-4.3 MWh | Click and state value of parameter |
| Total height of WPP | Max. 180 m | Click and state value of parameter |
| Annual energy production (AEP) at a wind speed of 6 m/s | Min. 8,500 MWh | Click and state value of parameter |
| Noise value | Max. 109 dB | Click and state value of parameter |

| Manufacturer of Equipment | Click or tap here and input text. |
| --- | --- |
| Type designation of Equipment | Click or tap here and input text. |

In place on date

Name, position, signature